## Slide 1: ADS1198,ADS1298,ADS1299

## Slide 2
 | ADS1198 | ADS1298 | ADS1299
Broj kanala | 8 | 8 | 8
ADCs | 16 bit | 24 bit | 24 bit
Power dissipation | 8.2 mW normal mode | 8.8 mW HR mode | 39 mW normal mode
 | 4 mW Standby mode | 6 mW LP mode | 5.1 mW standby mode
 | 20 μW Power down |  | 10 μW Power-down
Input Bias Current | 200pA | 200 pA | 300 pA
Data Rate | 125SPS to 8kSPS | 250 SPS to 32 kSPS | 250 SPS to 16 kSPS
CMRR | -105dB | -115dB | -110dB
Programmable Gain: | 1, 2, 3, 4, 6, 8, or 12 | 1, 2, 3, 4, 6, 8, or 12 | 1, 2, 4, 6, 8, 12, or 24
Supplies: | Analog: 2.7V to 5.25V | AVDD= 2.7 V to 5.25V | Analog:4.75V to 5.25V
 | Digital: 1.65V to 3.6V | DVDD= 1.65V to 3.6 V | Digital:1.8 V to 3.6 V

## Slide 3
 | ADS1198 | ADS1298 | ADS1299
Input-Referred Noise: | 12μVPP(150HzBW, G = 6) | 4μVPP(150Hz BW, G = 6) | 1μVPP(70-HzBW)
 | Built-In RightLegDriveAmplifier,Lead-Off Detection, WCT,TestSignals | Built-in Right Leg Drive Amplifier, Lead-off detection; Wilson center terminal, pace detection, test signals | 
 | SPI™-Compatible Serial Interface | SPI™-Compatible Serial Interface | SPI™-Compatible Serial Interface
Package | 8mm×8mm,64-ball BGA and 10 mm×10 mm TQFP-64 | 8mm×8mm,64-ball BGA and TQFP-64 | 10mm×10mm, TQFP-64
Price | 23,52 € | 36,39 € | 48,91 €